## Slide 1: Deathray: A hardware test platform Preliminary Design Review
Vanderbilt University, March 15th 2012

## Slide 2: Group Members: Nadiah Zainol Abidin Anas Alfuntukh Jack Minardi Customer/Sponsor: Institute of Space and Defense Electronics (ISDE) Advisor: Prof. Daniel Loveless, Research/Develop Engineer

## Slide 3: Agenda
Overview
Graphical User Interface Design
Hardware Control
Software Design
Robustness
Testing

## Slide 4: Statement of Work
The goal of this project is to design a graphical user interface to control and visualize integrated circuits radiation experiments in real time
Why does it have to be in real time?
What are the advantages of using this software?

## Slide 5: Graphical User Interface Goals
Be able to set up new experiments
Be able to save experiment configurations
Be able to access data from hardware testing done in real time and plot in real time
Be able to load in configuration of experiments done in the past
Be able to access data from experiments done

## Slide 6: Draft of GUI design
Welcome Window
Experiments
Load Experiment
Saved configurations
New Experiment
Data
Configure settings
List of experiments
Data of experiment
(read only)
Edit/confirm
confirm
Run analysis window

## Slide 7: GUI Design-11 slides or how do we display this?

## Slide 8: GUI Design

## Slide 9: Current GUI progress

## Slide 10: Hardware Control
So how does the software communicate with the hardware?
Series of commands using the GPIB
Series of tools using the FPGA

## Slide 11: FPGA control
SE Test System (made of several components)
3.3 V
GND
FPGA
I/O
DUT
Computer
USB/serial

## Slide 12: GPIB Control
The de facto standard of controlling hardware using a PC

## Slide 13: Hardware
Gpib
Digital multimeter
hp34401a
DC power supply
hpe3631a

## Slide 14: Hardware
- Oscilloscope
dso6032a

## Slide 15: GPIB: SCPI commands
What is it
Why we use it
Examples

## Slide 16: Software Design
How to make it modular?
Modules for each device
-documentation so everything is standardized

## Slide 17: Robustness
Software has to be robust from people:
who are not familiar with the program
who wants to hack the program
who might try to break the program on purpose
How?
Checking method
Documentation (user manual, developer manual)
Expectation for dummy users

## Slide 18: Testing
Trial period for candidates to use it for two weeks
- user manual (after GUI is complete)
- developers manual (ongoing)
Receive feedback from candidates
Use feedback for improvising the program in the future